## Feuil1
Additional comments to the paper
C. Dirks et al. | Characterization ...
reviewer comment |  | answer
Introduction
...no-carrier-added... Why not carrier-free? |  | not changed, various targets are described in literature, quality of targets not always known (might contain traces of Cu), no-carrier-added seemed thus more correct
Experimetal
Reagents and apparatus:
In spite of the fact that in the Introduction a target is mentioned, in the experimental no target irradiation or dissolution, etc. is given. |  | Not changed. The work on real targets is the next step of the project, this paper only describes resin caracterisation and first tests on simulated dissolved targets
Any information of Cu resin is missing. |  | Not changed. Information on the composition of the resin confidential for the moment, sorry
No reagents are mentioned in pH adjusting. |  | Changed, reagents are now mentioned
Determination of weight distribution ratios Dw and interferences:
... to pH 1. 50 mg of the ... Unhappy construction. The next sentence should begin: Fifty mg. |  | Changed as suggested
Dw or Dw? |  | Changed to Dw
The explanation of symbols NA0 and NA in eq. 1 should be completed with: ... A0 sample before shaking..., .... in the A sample after shaking ... |  | Changed as suggested
und should be: and. |  | Changed as suggested
decision limit – the LOD is limit of detection. |  | Changed, LOD replaced by decision limit (DL)
Results and discussion
Elution studies:
Graph 7 – Fig 7 is better. |  | Changed as suggested
N and k are not explained. |  | Changed, both have been explained
Where is the k’ mentioned in the text? See also Abstract. |  | Changed, k' has been replaced by Dw
Conclusion and outlook
Conclusions should be enough. |  | Changed as suggested
Figures
Why in figures, similarly as in the text, Am3+ and Am(III) are written alternately? |  | Not changed, Am3+ and Am(III) do not appear in the text or figures
Fig. 4. It is unusual to write (H,Na)NO3. Moreover, if the concentration of HNO3 is 0.1, the pH cannot be higher than 1. |  | Not changed, (H,Na)NO3 doesnot appear in the figure
Figs. 4 and 5 are improper in their construction. They need to change in scale (y - axis), or omit and their meaning to put into the text. |  | scale changed
The authors should also think about putting Fig. 7 into the Experimental as it would be a more suitable place. |  | Not changed, figure 7 shows the results of an experiment described in the experimental section I'd thus rather keep it in the results section