## Slide 1
Novel design of a device for measurement of human skin viscoelastic properties
Perrine BEGON & Flavie DELOUYE
INSA Centre Val de Loire, Blois, France – Institute of Thermomechanics, Prague, Czech Republic
SPMS conference, Rumburk, Czech Republic, 23 - 27 June 2022

## Slide 2: OUTLINE
Introduction
Design specifications
  Previous design
  Novel design
Mechanical design
Motor piece
Movement transmission piece
Strain gauges piece
Ultrasonic transducer pieces
Future steps
  Electrical part
  Novel device assembly and verifications
SPMS conference, Rumburk, Czech Republic, 23 - 27 June 2022

## Slide 3: Introduction
Anisotropic and non-linearly viscoelastic properties
Cosmetic industry and aesthetic medicine
SPMS conference, Rumburk, Czech Republic, 23 - 27 June 2022

## Slide 4: PrevIOUS DESIGN
Mechanical loading and ultrasonic testing device in 2013
SPMS conference, Rumburk, Czech Republic, 23 - 27 June 2022

## Slide 5: Novel design
3D-printing
Modelisation with Fusion software
Dimensions not lower than 1 mm
PRUSA I3 MK3, 3D printer
Novel device in June 2022
SPMS conference, Rumburk, Czech Republic, 23 - 27 June 2022

## Slide 6: Novel design
Static transducer mounting piece
Mobile transducer mounting piece
Interface module
Step motor
Strain gauges
SPMS conference, Rumburk, Czech Republic, 23 - 27 June 2022

## Slide 7: Motor piece
General view
SPMS conference, Rumburk, Czech Republic, 23 - 27 June 2022

## Slide 8: Motor piece
Rails
Step-motor
Printed piece with cork and silicon layers
Printed piece
Assembly with the step-motor and the rails
SPMS conference, Rumburk, Czech Republic, 23 - 27 June 2022

## Slide 9: Motor piece
5-7 cm between the center of the two ultrasonic transducers
Back view of the motor piece
SPMS conference, Rumburk, Czech Republic, 23 - 27 June 2022

## Slide 10: Motor piece
Elastic strip hook
Coaxial cable hook
Back view
SPMS conference, Rumburk, Czech Republic, 23 - 27 June 2022

## Slide 11: Motor piece
Interface module for position measurement
Printed piece
SPMS conference, Rumburk, Czech Republic, 23 - 27 June 2022

## Slide 12: Movement transmission part
General view
Step-motor
SPMS conference, Rumburk, Czech Republic, 23 - 27 June 2022

## Slide 13: Movement transmission part
White plastic nut
Step motor
Motor screw
Printed part
Wagons
Movement transmission part assembly with the motor
Assembly of the new device
SPMS conference, Rumburk, Czech Republic, 23 - 27 June 2022

## Slide 14: Movement transmission part
Printed part with 3 equidistant holes
Bottom views
SPMS conference, Rumburk, Czech Republic, 23 - 27 June 2022

## Slide 15: Strain gauges piece
General view
SPMS conference, Rumburk, Czech Republic, 23 - 27 June 2022

## Slide 16: Strain gauges piece
Strain gauges piece
1 mm thickness rectangle to put the strain gauges on
Printed strain gauges piece
SPMS conference, Rumburk, Czech Republic, 23 - 27 June 2022

## Slide 17
Strain gauges piece
Hole connecting the sensors
Printed strain gauges piece
Strain gauges piece
SPMS conference, Rumburk, Czech Republic, 23 - 27 June 2022

## Slide 18: Ultrasonic transducer pieces
Hole for negative pressure
Empty part for the motor part or the strain gauges part
Hollow cylinder
Transducer mounting piece
Bottom view
SPMS conference, Rumburk, Czech Republic, 23 - 27 June 2022
Loading part

## Slide 19: Ultrasonic transducer pieces
Shielding
Ultrasonic transducer in the cup
Ultrasonic transducer cup
Hole for the coaxial cable
Ultrasonic transducer cup
SPMS conference, Rumburk, Czech Republic, 23 - 27 June 2022

## Slide 20: Ultrasonic transducer pieces
Cap
Ultrasonic transducer cup
Spring
Printed ultrasonic transducer cup with the spring
Printed loading part
SPMS conference, Rumburk, Czech Republic, 23 - 27 June 2022

## Slide 21: Ultrasonic transducer pieces
Transducer mounting piece and its cap
Ultrasonic transducer cup and its cap
Assembly
SPMS conference, Rumburk, Czech Republic, 23 - 27 June 2022

## Slide 22: Novel design block diagramm
SPMS conference, Rumburk, Czech Republic, 23 - 27 June 2022

## Slide 23: Design of 2 printed circuit boards with eagle software
Schematic of the internal PCB
Internal PCB
SPMS conference, Rumburk, Czech Republic, 23 - 27 June 2022

## Slide 24: Design of 2 printed circuit boards with eagle software
Schematic of the external PCB
External PCB
SPMS conference, Rumburk, Czech Republic, 23 - 27 June 2022

## Slide 25: NOVEL DESIGN ASSEMBLY AND VERIFICATIONS
SPMS conference, Rumburk, Czech Republic, 23 - 27 June 2022
Assembly of the new device

## Slide 26: CONCLUSION
Interest in scientific area
3D-printing → many advantages
SPMS conference, Rumburk, Czech Republic, 23 - 27 June 2022

## Slide 27
SPMS conference, Rumburk, Czech Republic, 23 - 27 June 2022
SUPERVISORS
Ing. Daniel Tokar, prototype design concept lead and internship project supervisor
Dr. Zdeněk Převorovský, internship project supervisor
Acknowledgement
Dr. Josef Krofta, technical support
Dr. Milan Chlada, technical support

## Slide 28: Thank you for your attention!